## Slide 1: WELL STATUS August 14, 2023
City Council approved $520K for re-drilling of city wells below PVDS
  Met with Ramzi Awwad to layout well schedule and RPV Reqmts
  Kerwin, Chiles, Leon located city wells in preparation for RFP
  Goal to have wells installed by December
Fairchild drain line in work
Purchase 200’ Jet rooter to descale wells
  Iron bacteria
Purchase 4 new well pumps and meters
Measured head pressure to optimize pumping
  Well 4 -15psi, Well 11 -60psi, Well 8 – 10psi, other 0
Thanks to all the members that helped check the wells last week
CURRENTLY PUMPING 109K GPD
Problems in work:
  Wells 2, 3, 6 ,7, 16 not working
  Well 8 and Yamaguchi need new meters
  Wells 2, 3 need new box

## Slide 2
Chart: 
| 44446 | 44453 | 44460 | 44466 | 44474 | 44481 | 44488 | 44495 | 44502 | 44509 | 44516 | 44523 | 44530 | 44537 | 44544 | 44551 | 44565 | 44572 | 44586 | 44594 | 44600 | 44607 | 44614 | 44572 | 44586 | 44594 | 44600 | 44607 | 44614 | 44621 | 44628 | 44635 | 44642 | 44649 | 44656 | 44663 | 44670 | 44677 | 44684 | 44691 | 44698 | 44705 | 44712 | 44719 | 44726 | 44733 | 44740 | 44747 | 44754 | 44761 | 44768 | 44775 | 44782 | 44789 | 44796 | 44803 | 44810 | 44817 | 44824 | 44831 | 44838 | 44845 | 44852 | 44859 | 44866 | 44873 | 44880 | 44887 | 44894 | 44901 | 44908 | 44915 | 44922 | 44929 | 44937 | 44944 | 44950 | 44957 | 44964 | 44971 | 44978 | 44985 | 44992 | 45001 | 45007 | 45013 | 45020 | 45027 | 45034 | 45041 | 45048 | 45055 | 45062 | 45069 | 45076 | 45083 | 45090 | 45095 | 45111 | 45119 | 45125 | 45132 | 45139 | 45146
Narcissa/Gingerroot 1 | 0 | 15901.4286 | 48685.7143 | 13808.5714 | 520 | 0
Mid Sweetbay 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 298.5714 | 1430 | 1401.6667 | 1390 | 1397.1429 | 1036.6667 | 298.5714 | 1430 | 1401.6667 | 1390 | 1397.1429 | 570 | 0 | 0 | 0 | 0 | 7600 | 8881.4286 | 577.1429 | 4485.7143 | 4471.4286 | 4252.8571 | 1427.1429 | 467.1429 | 468.5714 | 1235.7143 | 1540 | 1290 | 2117.1429 | 897.1429 | 1457.1429 | 1440 | 1230 | 327.1429 | 590 | 18.5714 | 274.2857 | 422.8571 | 371.4286
Beanfield 11
upper Gingerroot 12 | 8761.4286 | 9815.7143 | 9169