## Slide 1: WELL STATUS Jan 10, 2023
CURRENTLY PUMPING 100,000 GALLONS PER DAY
Well # 6 (Clovetree)
  Well is operational
  Buried electrical service and discharge line
  Added timer, adjusting on time to match well capacity
Well #1 (Narcissa and Ginger Root)
  Replaced pump
Well #12 (Upper Ginger Root)
  Buried electrical service from pole to well
Well #2 (lower Narcissa)
  Added timer to well, adjusting on time to match well capacity
  Replaced Meter
Well #3 Offline, will replace pump
Obtained bids for drilling two wells: Well #7 (mid-Narcissa) and (Well #3 Mid-Figtree)
ACLAD Near-term Plan
  Schedule well drilling

## Slide 2: New Well Bids
Drill 160’deep replacement wells at Well#7 and Well#3 locations
  Drill, set casing, and clean ready for pump installation
  Does not include site prep, pump, drainage, or electrical installation
Received Two Bids and one no-bid
  Coastal Construction
  Paradise Drilling
Financial discussion in closed session

## Slide 3
ACLAD Summary Report 2022
Chart: 
Mid Sweetbay 8
Chart: 
Mid Sweetbay 8
Chart: 
Mid Sweetbay 8
Chart: 
| 44565 | 44572 | 44586 | 44594 | 44600 | 44607 | 44614 | 44572 | 44586 | 44594 | 44600 | 44607 | 44614 | 44621 | 44628 | 44635 | 44642 | 44649 | 44656 | 44663 | 44670 | 44677 | 44684 | 44691 | 44698 | 44705 | 44712 | 44719 | 44726 | 44733 | 44740 | 44747 | 44754 | 44761 | 44768 | 44775 | 44782 | 44789 | 44796 | 44803 | 44810 | 44817 | 44824 | 44831 | 44838 | 44845 | 44852 | 44859 | 44866 | 44873 | 44880 | 44887 | 44894 | 44901 | 44908 | 44915 | 44922
Narcissa/Gingerroot 1 | 20863.0714 | 21829.5714 | 13171.4286 | 1316.25 | 17153.3333 | 6381.4286 | 0 | 8155.2381 | 13171.4286 | 1316.25 | 17153.3333 | 6381.4286 | 0 | 20680 | 17455.6522 | 17178.5714 | 19208.5714 | 18492.8571 | 17631.4286 | 17214.2857 | 16892.8571 | 5751.4286 | 0 | 28664.2857 | 12554.25 | 13691.5 | 17063.5714 | 13708.4286 | 13114.4286 | 12194.8571 | 11738.8571 | 11871.5714 | 11181.1429 | 18994.2857 | 2828.5714 | 10810 | 9160 | -1351.7143 | -3582.5714 | 5761.4286 | 16112.8571 | 12465.7143 | 11434.2857 | 11158.5714 | 10681.4286 | 10497.1429 | 10274.2857 | 10158.1429 | 10182.8571 | 10530.8571 | 10513.5714 | 10162.4286 | 10224.7143 | 9692 | 9824.5714 | 9747.1429 | 731.5714
Mid Figtree 3 | 9602.1429 | 10057.1429 | 8330.7143 | 6215 | 7851.6667 | 5637.1429 | 5240 | 6895.2381 | 8330.7143 | 6215 | 7851.6667 | 5637.1429 | 5240 | 3187.1429 | 3845.7143 | 1562.8571 | 0 | 0 | 4302.8571 | 3798.5714 | 1677.1429 | 4504.2857 | 3108.5714 | 2595.7143 | 1440 | 302.8571 | 524.2857 | 0 | 0 | 0 | 0 | 25302.8571 | 12975.7143 | 17365.7143 | 15490.8571 | 13510.5714 | 13934.2857 | 2825.7143 | 9047.1429 | 7562.8571 | 5540 | 4968.5714 | 4670 | 4215.5714 | 2914.4286 | 2710.8571 | 2780.5714 | 808.5714 | 1681.4286 | 1582.8571 | 1557.1429 | 1296.2857 | 2038 | 2999.2857 | 2148.4286 | 0 | 0
Lower Figtree 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3881.5714 | 3685.1429 | 3147.5714 | 14360.8571 | 14190.8571 | 28014.2857 | 16123.4286 | 17779.1429 | 9564.1429 | 9314.7143 | 5501 | 5817.5714 | 5259.4286 | 15014.2857 | 585.8571 | -1016 | 4484.4286 | 4511.8571 | 4257.7143 | 4219 | 4300.5714 | 3549.5714 | 2843 | 3008.4286 | 5555.5714 | 1808.8571
Clove Tree 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1951.9
Mid Sweetbay 8 | 0 | 229 | 298.5714 | 1430 | 1401.6667 | 1390 | 1397.1429 | 1036.6667 | 298.5714 | 1430 | 1401.6667 | 1390 | 1397.1429 | 570 | 0 | 0 | 0 | 0 | 7600 | 8881.4286 | 577.1429 | 4485.7143 | 4471.4286 | 4252.8571 | 1427.1429 | 467.1429 | 468.5714 | 1235.7143 | 1540 | 1290 | 2117.1429 | 897.1429 | 1457.1429 | 1440 | 1230 | 327.1429 | 590 | 18.5714 | 274.2857 | 422.8571 | 371.4286 | 350 | 407.1429 | 401.4286 | 434.2857 | 177.5714 | 1562.4286 | 491.4286 | 797.1429 | 775.7143 | 768.5714 | 682.4286 | 807.5714 | 727.1429 | 738.8571 | 726.8571 | 737.1429
Beanfield 11
upper Gingerroot 12 | 11344.7143 | 11402.5714 | 11142.8571 | 10955 | 10805 | 10871.5714 | 11198.7143 | 11022.9048 | 11142.8571 | 10955 | 10805 | 10871.5714 | 11198.7143 | 9065.7391 | 11665.4286 | 11014 | 11916.8571 | 0 | 23839.8571 | 11733.2857 | 11093.1429 | 11144.8571 | 11433.2857 | 15164.8571 | 3827.2857 | 11194.2857 | 11221.2857 | 6348.4286 | 14375.4286 | 10792 | 3328.5714 | 16237.1429 | 9626.4286 | 9507.8571 | 9434.8571 | 6279.4286 | 12863.4286 | 5708 | 8557.1429 | 3942.8571 | 13043.1429 | 20314.4286 | 4515.4286 | 17627 | 6436.5714 | 5795.4286 | 14494.1429 | 7143.8571 | 12338.7143 | 10253.1429 | 16678.4286 | 10715 | 1168.8571 | 1581 | 1636.7143 | 26211 | 16174.1429
upper Gingerroot 12 | 17531.4286 | 17685.7143 | 16897.8571 | 13086.25 | 20133.3333 | 16454.2857 | 15795.7143 | 16376.4286 | 16897.8571 | 13086.25 | 20133.3333 | 16454.2857 | 15795.7143 | 17100.8696 | 17227.1429 | 16504.2857 | 17342.8571 | 17265.7143 | 17342.8571 | 17018.5714 | 13750 | 0 | 12902.8571 | 29344.2857 | 27571.4286 | 29075.7143 | 24934.2857 | 25632.8571 | 26041.4286 | 23461.4286 | 21912.8571 | 20687.1429 | 19594.2857 | 19290 | 19357.1429 | 19531.4286 | 19360 | 19340 | 19187.1429 | 19341.4286 | 18978.5714 | 18292.8571 | 2625.7143 | -771.4286 | 13455.7143 | 13000 | 13000 | 18598.5714 | 18168.5714 | 17432.8571 | 17151.4286 | 16925 | 16763.5714 | 16095.7143 | 16331.4286 | 189.7143 | 30977.4286
King/Sweetbay 13 | 9997.1429 | 10087.1429 | 9845 | 7271.25 | 12960 | 9712.8571 | 10105.7143 | 9821.1905 | 9845 | 7271.25 | 12960 | 9712.8571 | 10105.7143 | 3455.6522 | -5872.8571 | 0 | 0 | 11943.2857 | 2888.1429 | 9184.4286 | 14065.1429 | 14014.1429 | 14206.4286 | 13698.4286 | 13675.2857 | 13610 | 13589.7143 | 13212.1429 | 13770.1429 | 13373.4286 | 13422.8571 | 13753 | 13195.1429 | 13093.8571 | 12975.5714 | 13487.5714 | 13438.5714 | 13490.5714 | 13436.4286 | 13438.7143 | 13174.7143 | 11885.5714 | 14376.1429 | 13578.2857 | 13348 | 13624.4286 | 4228 | 0 | 0 | 5752.8571 | 0 | 7868.2857 | 13589 | 12871.4286 | 13111 | 13162.1429 | 12864.2857
Narcissa/Vanderlip 15 | 1779.5714 | 1750.1429 | 1786.1429 | 2404.5 | 15472.3333 | 13292 | 0 | 5479.0476 | 1786.1429 | 2404.5 | 15472.3333 | 13292 | 0 | 12623.6522 | 21339.7143 | 9467.1429 | 14610.5714 | 7789 | 11133.8571 | 11659.8571 | 11625.8571 | 11659.5714 | 6035 | 951.4286 | 5.1429 | -5.1429 | 7885.1429 | 8500 | 8581.5714 | 8101 | 8134.4286 | 8300.2857 | 8093 | 8280.1429 | 7052.5714 | 0 | 0 | 1092.1429 | 2026 | 14869.2857 | 8160.4286 | 7903.5714 | 8095.1429 | 8300.8571 | 8108.1429 | 8054.4286 | 7876.7143 | 8047.5714 | 8073.4286 | 8055.5714 | 8142.2857 | 8117.5714 | 8244.2857 | 8062.4286 | 8143.7143 | 8263 | 7998.7143
Petak/Sweetbay 16 | 6590 | 7081.4286 | 9236.4286 | 9235 | 8160 | 12240 | 5170 | 8905.2381 | 9236.4286 | 9235 | 8160 | 12240 | 5170 | 8450.4348 | 8801.4286 | 9518.5714 | 11954.2857 | 9125.7143 | 8264.2857 | 13804.2857 | 7061.4286 | 9941.4286 | 11528.5714 | 10561.4286 | 9595.7143 | 4777.1429 | 7344.2857 | 14935.7143 | 17581.4286 | 2347.1429 | 30008.5714 | 17138.5714 | 16601.4286 | 3122.8571 | -14.2857 | 0 | 11014.2857 | 16271.4286 | 26520 | 21792.8571 | 20000 | 20001 | 20002 | 20003 | 20004 | 20005 | 20006 | 20007 | 20008 | 18527.1429 | 22342.8571 | 17676.4286 | 14310.7143 | 13166.7143 | 16139.7143 | 14403.4286 | 34643