## Slide 1: ACLAD Operations Status
10 May 2022

## Slide 2: ACLAD STATUS
CURRENTLY PUMPING 87,215 GALLONS PER DAY
New box on PVDS System Output Meter
Well #6 (Clove Tree)
  Power permits in work for new pole and hook-up
  Ran pump on Tim and Coleen Miller’s Hot Tub circuit
Well # 1 (Ginger Root)
  Replaced pump
Well # 19 (end of Narcissa)
  Replacing Pump on Saturday
Discussed pump problems with Schraiber. Received several recommendations
ACLAD Near-term Plan
  Well #4 (lower Figtree) ABC Drilling to start pending Board Approval
  Well Drilling Plan: Well #4, Well #7, Well #6 or #3
PVDS Systems Output Meter

## Slide 3
ACLAD Summary Report May 10, 2022
Chart: 
| 44571 | 44572 | 44586 | 44594 | 44600 | 44607 | 44614 | 44621 | 44628 | 44635 | 44642 | 44649 | 44656 | 44663 | 44670 | 44677 | 44684 | 44691
Narcissa/Gingerroot 1 | 20863.0714 | 21829.5714 | 13171.4286 | 7020 | 17153.3333 | 6381.4286 | 0 | 20680 | 17455.6522 | 17178.5714 | 19208.5714 | 18492.8571 | 17631.4286 | 17214.2857 | 16892.8571 | 5751.4286 | 0 | 14332.1429
lower Narcissa 2 | 5108.5714 | 5004.2857 | 5014.2857 | 4977.1429 | 5526.6667 | 5100 | 5948.5714 | 2051.4286 | 4944.2857 | 4351.4286 | 4140 | 3998.5714 | 4207.1429 | 4230 | 4600 | 4925.7143 | 5088.5714 | 5815.7143
Beanfield 11 | 11344.7143 | 11402.5714 | 11142.8571 | 10955 | 10805 | 10871.5714 | 11198.7143 | 9065.7391 | 11665.4286 | 11014 | 11916.8571 | 0 | 23839.8571 | 11733.2857 | 11093.1429 | 11144.8571 | 11435.8571 | 15162.2857
upper Gingerroot 12 | 17531.4286 | 17685.7143 | 16897.8571 | 14955.7143 | 20133.3333 | 16454.2857 | 15795.7143 | 17100.8696 | 17227.1429 | 16504.2857 | 17342.8571 | 17265.7143 | 17342.8571 | 17018.5714 | 13750 | 0 | 12902.8571 | 27915.7143
King/Sweetbay 13 | 9997.1429 | 10087.1429 | 9845 | 7271.25 | 12960 | 9712.8571 | 10105.7143 | 3455.6522 | 0 | 0 | 0 | 11943.2857 | 2888.1429 | 9184.4286 | 14065.1429 | 14014.1429 | 14206.4286 | 13734
Narcissa/Vanderlip 15 | 1779.5714 | 1750.1429 | 1786.1429 | 3206 | 15472.3333 | 13292 | 0 | 12623.6522 | 21339.7143 | 9467.1429 | 14610.5714 | 7789 | 11133.8571 | 11659.8571 | 11625.8571 | 11659.5714 | 6749.1429 | -714.1429
Petak/Sweetbay 16 | 6590 | 7081.4286 | 9236.4286 | 9235 | 8160 | 12240 | 5170 | 8450.4348 | 8801.4286 | 9518.5714 | 11954.2857 | 9125.7143 | 8264.2857 | 13804.2857 | 7061.4286 | 9941.4286 | 11528.5714 | 10561.4286
Thyme 17 | 1267.8571 | 1001.4286 | 952.8571 | 941.25 | 911.6667 | 905.7143 | 990 | 944.3478 | 868.5714 | 857.1429 | 851.4286 | 844.2857 | 857.1429 | 848.5714 | 842.8571 | 835.7143 | 298.2857 | 407.4286
End of Narcissa 19 | 2570.7143 | 2144.2857 | 2108.5714 | 1638.5714 | 1900 | 1427.1429 | 1317.1429 | 1109.5652 | 794.2857 | 580 | 157.1429 | 0 | 0 | -1.4286 | 1238.5714 | 0 | 0 | 0
Sweetbay Yamaguchi | 3961.4286 | 3825.7143 | 3851.4286 | 3818.75 | 3618.3333 | 3700 | 3582.8571 | 4266.087 | 3494.2857 | 3377.1429 | 3431.4286 | 3452.8571 | 3372.8571 | 11984.2857 | 23298.5714 | 17594.2857 | 21542.8571 | 0
Lower Figtree 3 | 9602.1429 | 10057.1429 | 8330.7143 | 7102.8571 | 7851.6667 | 5637.1429 | 5240 | 3880 | 3845.7143 | 1562.8571 | 0 | 0 | 4302.8571 | 3798.5714 | 1677.1429 | 4504.2857 | 3107.1429 | 2597.1429
Mid Sweetbay 8 | -1 | 0 | 2090 | 5720 | 1401.6667 | 1390 | 1397.1429 | 693.913 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 4: Weekly Well Monitoring (gallons per day)
 | Narcissa/Gingerroot | lower Narcissa | Beanfield | upper Gingerroot | King/Sweetbay | Narcissa/Vanderlip
 | 1 | 2 | 11 | 12 | 13 | 15
Petak/Sweetbay | Thyme | End of Narcissa | Sweetbay | Lower Figtree | Mid Sweetbay | Total GPD | PVDS Meter
16 | 17 | 19 | Yamaguchi | 3 | 8 |  | 
5-Apr | 17,631 | 4,207 | 23,840 | 17,343 | 2,888 | 11,134
12-Apr | 17,214 | 4,230 | 11,733 | 17,019 | 9,184 | 11,660
19-Apr | 16,893 | 4,600 | 11,093 | 13,750 | 14,065 | 11,626
26-Apr | 5,751 | 4,926 | 11,145 | 0 | 14,014 | 11,660
3-May | 0 | 5,089 | 11,436 | 12,903 | 14,206 | 6,749
10-May | 14,332 | 5,816 | 15,162 | 27,916 | 13,734 | -714
5-Apr
12-Apr
19-Apr
26-Apr
3-May
10-May
8,264 | 857 | 0 | 3,373 | 4,303 | 0 | 86,165 | 77,743
13,804 | 849 | -1 | 11,984 | 3,799 | 0 | 85,692 | 81,757
7,061 | 843 | 1,239 | 23,299 | 1,677 | 0 | 81,170 | 82,586
9,941 | 836 | 0 | 17,594 | 4,504 | 0 | 58,273 | 66,100
11,529 | 298 | 0 | 21,543 | 3,107 | 0 | 62,210 | 98,494
10,561 | 407 | 0 | 0 | 2,597 | 0 | 87,215 | 92,391