## Slide 1: ACLAD Activities 3/11/2024
Regular Maintenance
  Repairing 6” mainline break and multiple 2” breaks.
  R&R Well 17
  Well 7 Sheared, pump jammed in well. Working to clear well and add new pump
  Well 12 – broken check valve. Should be fixed this week
New RPV Wells
  Wells 18 and 20 Operational
  Working with SCE to energize wells 9 and 19
  Installing pumps, drains, electrical starting this week
  Installing aprox 1000’ of new drain lines and new well pumps
New ACLAD Wells
  Two new wells drilled and developed
  Working on drains and power (with SCE)
Altamira Canyon
  Drafting funding request to Rep Ted Lieu to armor the canyon
CURRENTLY PUMPING ~130K GPD
  Average output lower due to drain line breaks
Investigate Kelvin Canyon Spring
  RPV removed foliage to access spring
  Developing plan to pipe water to ACLAD drainage
Participating in Landslide Meetings
  Cal Water: Tuesdays
  RPV Landslide Working Group Wednesdays
Plans:
  Start operation of remaining 4 new wells
  Work on Indian Spring (Kelvin Cyn) and Altamira Canyon